## Slide 1: PHOE 162-Introduction to Fiber Optics
Instructor: Dr. Elif Demirbas
Assistant Professor of Physics, Photonics and Optical Engineering
Bridgewater State University, Spring 2021

## Slide 2: Tentative Schedule
Week1
March 23-Introduction to Fiber Optics, Laser Safety Training
March 24-Laser to Single Mode Fiber Coupling, Group A-Experiment, Group B: Lab Report
March 25-Laser to Single Mode Fiber Coupling, Group B-Experiment, Group A: Lab Report
Week2
March 30- Multi-Mode Fiber, Group A-Experiment, Group B: Lab Report
March 31- Multi-Mode Fiber, Group B-Experiment, Group A: Lab Report
April 1- Fiber Coupler, Group A-Experiment, Group B: Lab Report
Week 3
April 6- Fiber Coupler, Group A-Experiment, Group B: Lab Report
April 7- Polarization Maintaining Fiber- Group A-Experiment, Group B: Lab Report
April 8- Polarization Maintaining Fiber- Group B-Experiment, Group A: Lab Report
Week4
April 13- 30-Loss in Fiber, Group A-Experiment, Group B: Lab Report
April 14- Loss in Fiber, Group B-Experiment, Group A: Lab Report
April 15-Final Day- 10 min Presentations.

## Slide 3: Single-Mode Fiber
Instruments:
1 x Optical Bench
1 x Laser Diode (CPS635 or CPS532)
1 x Laser Power Supply (LDS5)
1 x Laser Safety Goggle (LG4)
1 x Convex lens (LA1608-A-ML)
1 x Iris (ID20)
1 x Power meter (PM16-130)
1 x Viewing Screen (EDU-VS1)
1 x Viewing Card (VRC2)
1 x Single mode fiber cable (P1-460B-FC-1)
2 x Ferule (FCM)
Posts, post holders (PH2, TR2, BA2)
Mounts (FCM, LMR1,KM100T)

## Slide 4
Instruments:
1 x Optical Bench
1 x Laser Diode (CPS635 or CPS532)
1 x Laser Power Supply (LDS5)
1 x Laser Safety Goggle (LG4)
1 x Convex lens (LA1608-A-ML)
1 x Iris (ID20)
1 x Power meter (PM16-130)
1 x Viewing Screen (EDU-VS1)
1 x Viewing Card (VRC2)
1 x Multi mode fiber cable (M42L01)
2 x Ferule (FCM)
Posts, post holders (PH2, TR2, BA2)
Mounts (FCM, LMR1,KM100T)
Caliper
Multi-Mode Fiber

## Slide 5: Alternative Setup to improve coupling coefficient
Instruments:
1 x Optical Bench
1 x Laser Diode (CPS635 or CPS532)
1 x Laser Power Supply (LDS5)
1 x Laser Safety Goggle (LG4)
2 x Convex lens (LA1608-A-ML)
2 x Iris (ID20)
2 x Mirrors
1 x Power meter (PM16-130)
1 x Viewing Screen (EDU-VS1)
1 x Viewing Card (VRC2)
1 x Multi mode fiber cable (M42L01)
2 x Ferule (FCM)
Posts, post holders (PH2, TR2, BA2)
Mounts (FCM, LMR1,KM100T, KM100)
Caliper

## Slide 6: 50:50 Fiber coupler
Instruments:
1 x Optical Bench
1 x Laser Diode (CPS635 or CPS532)
1 x Laser Power Supply (LDS5)
1 x Laser Safety Goggle (LG4)
2 x Convex lens (LA1608-A-ML)
2 x Iris (ID20)
2 x Mirrors
1 x Power meter (PM16-130)
1 x Viewing Screen (EDU-VS1)
1 x Viewing Card (VRC2)
1 x 50:50 Single Mode fiber coupler
1 x 75:25 Single Mode fiber coupler
2 x Ferule (FCM)
Posts, post holders (PH2, TR2, BA2)
Mounts (FCM, LMR1,KM100T, KM100)
Caliper

## Slide 7: Polarization Maintaining Fiber-Circularly Polarized
Instruments:
1 x Optical Bench
1 x Laser Diode (CPS635 or CPS532)
1 x Laser Power Supply (LDS5)
1 x Laser Safety Goggle (LG4)
1 x Convex lens (LA1608-A-ML)
2 x Iris (ID20)
1 x Power meter (PM16-130)
1 x Viewing Screen (EDU-VS1)
1 x Viewing Card (VRC2)
1 x Polarization Maintaining Fiber (P1-488PM-FC-1)
2 x Ferules (FCM)
1 x Quarter Wave Plate (before fiber)
1 x Polarizer (after fiber) LPVISE100-A
Posts, post holders (PH2, TR2, BA2)
Mounts (FCM, LMR1,KM100T, KM100)
Caliper

## Slide 8: Polarization Maintaining Fiber-Linearly Polarized
Instruments:
1 x Optical Bench
1 x Laser Diode (CPS635 or CPS532)
1 x Laser Power Supply (LDS5)
1 x Laser Safety Goggle (LG4)
1 x Convex lens (LA1608-A-ML)
2 x Iris (ID20)
1 x Power meter (PM16-130)
1 x Viewing Screen (EDU-VS1)
1 x Viewing Card (VRC2)
1 x Polarization Maintaining Fiber (P1-488PM-FC-1)
2 x Ferules (FCM)
1 x Half Wave Plate (before fiber)
1 x Polarizer (after fiber)
Posts, post holders (PH2, TR2, BA2)
Mounts (FCM, LMR1,KM100T, KM100)
Caliper

## Slide 9: Loss in Fibers
Instruments:
1 x Optical Bench
1 x Laser Diode (CPS635 or CPS532)
1 x Laser Power Supply (LDS5)
1 x Laser Safety Goggle (LG4)
2 x Convex lens (LA1608-A-ML)
2 x Iris (ID20)
2 x Mirrors
1 x Power meter (PM16-130)
1 x Viewing Screen (EDU-VS1)
1 x Viewing Card (VRC2)
1 x Multi mode fiber cable (M42L01)
2 x Ferule (FCM)
Posts, post holders (PH2, TR2, BA2)
Mounts (FCM, LMR1,KM100T, KM100)
Caliper